Chapter 2. System Configuration

The GLOFA-GM6 series has various modules suitable to configuration of the basic, computer link and network systems.

This chapter describes the configuration and features of each system.

## 2.1  Overall Configuration

The following shows the overall configuration of the GLOFA-GM6 series.

GM6-CPUA ,GM6-CPUB,GM6-CPUC CPU

for GLOFA-GM6 series

##### RUN

STOP

PC

GM6-CPUA

GM6-CPUA

Battery

RUN

PAU/REM

STOP

CPU Module

RS-232C

Cable

Discket

GMWIN V3.42 for overall GLOFA-GM series

GM6-CPUA

GM6-PAFA

POWER ○

Power Supply

Module

(GM6-PAF□)

Base board(GM6-B0□M)

GM6-CPUA

G6I-D22B

Input Module

(G6I-□□□□)

GM6-CPUA

G6I-RY2A

Output Module

(G6Q-□□□A)

G6F-AD2A

G6L-FUEA

GM6-CPUA

GM6-CPUA

Special Module

(G6F-□□□□)

Communication Module

(G6L-□□□□)