Chapter 7.  Simulator Function

GMWIN allows you to simulate the program logically you’ve created without PLC or I/O system.

## Available Program for Simulation

- ◆ Program : All programs defined in a Project of GMWIN

- ◆ Standard Function/Function Block

- (Only Function/Function Block of A/D and D/A modules are available for simulation)

- ◆ User Defined Function/Function Block

- ( Not available for Function/Function Block having special functions)

## Start Simulation

- To start Simulation,

- ◆ Select Project- Start Simulation in the pull-down menu.

- ◆ When you select Start Simulation, GMWIN executes Compile+Link+Connect+ Download+

- Stop+Monitor Start Functions simultaneously.

- ◆ Run Mode in Simulation : Impossible to edit Monitor Mode

- ◆ Debug Mode : Keeps the current data of the previous mode

- ◆ Timer : Run Mode :: PC Clock base

## Build an I/O module

◆ If I/O variables or Direct variables are used in editing a Program, they are displayed in the

appropriate base and slot when starting Simulation.

| Data Type | 16Points | 32Points | 64Points |
| --- | --- | --- | --- |
| X | 0 ~ 15 | 16 ~ 31 | 32 ~ 63 |
| B | 0 ~ 1 | 2 ~ 3 | 4 ~ 7 |
| W | 0 | 1 | 2 ~ 3 |
| D | X | 0 | 1 |
| L | X | X | 0 |

- ◆ I/O Modules are set as 16 points as default.

If input and output contacts are used together, draw a output module.

16/32/64 I/O modules are all applicable for Input or Output module.

A/D module :  Square (ON:GREEN / OFF : BLACK)

D/A module :  Circle (ON:RED / OFF : BLACK)

Base : Supported as type of combination box

Output Module(16/32/64)

Input Module(16/.32/64)

Empty Slot

A/D Module

Power Module

CPU Module

Output (16/32/64Points)_Icon

A/D, D/A Icon

Trash can

Base Select

## Add/Remove Module

- To add or remove a module, the PLC mode must be Stop mode,

- ◆ Add : Drag and drop the icon which you want to add on the appropriate slot

- ◆ Remove : Drag the appropriate slot and throw it to the trash can(  )

## Simulation of I/O Module

To turn the Input/output contacts ON/OFF,

◆ Click the appropriate contact on the I/O module directly.

## Power Simulation

- This function is only available in Run mode.

- ◆ When Simulator begins to start, the power gets On.

- ◆ If you click the red lamp on the power module, the power gets Off and gets On in a few moment.

- This function is almost same as the power turns to be Off in a second.

- If there is a program defined as Hot Restart, the program is executed.

## A/D, D/A Simulation

### Shape

Analog Type

Data Input

Execution button

Data Output

Channel

- Analog Type 	: Kind of A/D Input range, D/A Output range

- Data Input	: Input box for Analog data of A/D or digital data of D/A

- Execution button: Converted to the inputted data

- Data Output 	: Display the converted data

- Channel	: Currently selected channel .

### Simulation

◆ A/D, D/A Simulation retains the data such as base, slot, channel and data type among the data set

in the initial function block ( AD?INI / DA?INI ) for A/D, D/A module. Others are ignored.

◆ If you mount the A/D or D/A module on the slot, which is not used in the program, the base and

slot are effective. But, the data type is all ‘0’ i.e., DT=0 (0~16,000) and all channels are supposed to be used

◆ After entering the data in data input position, click execution button.

### Analog type of A/D, D/A module

◆ A/D Input : +- 5V, +-10V, +-20mA, 4 ~ 20mA

◆ D/A Output : +- 5V, +-10V, 4 ~ 20Ma

### Change of Analog type and Display of converted data by channel

◆ Change of analog type is only available in Stop mode

◆ The selected channel is changed into the property of changed channel.

◆ Change of channel is available in all modes and the converted data of the changed channel is

displayed.

◆ According to each channel of A/D module, the kind of analog can be set.

If a channel is changed, the property of the channel is also changed.

◆ In case of D/A module,  Only one type of analog for all channels is available.

(You can’t setup the type of analog by channel.)

### Analog Input of A/D module and Display of converted data

◆ Input Unit - Voltage: mV, Current : uA

◆ Input value for the input data window in A/D module is analog data.

The value can’t exceed the range of the current analog type. If the value exceeds the maximum upper limit, the data will be the maximum upper limit.

Example) Let’s say Analog type is +-5V(DT=0). If inputted analog value is –6,000, the data is

regarded as -5,000. The converted digital data is displayed as ‘0’.