2-7 Test of communication with PLC

- Edit the PLC program used in chapter 1 as following, and download to PLC.

- Run the PMU to input numeric data, and monitor the preset value of timer and counter of PLC.

# Text boxes

# PMU 300  MAIN MENU

F5 Run

F4 Simulation

F3  Transfer

F2  Initial Setup

F1  Diagnosis

Move to

2.scr

Change to

Numeric Key

Add this part to the previous program