4.  Display Alarm messege

- Create an alarm to use when the main machine is operating.  An alarm file can have a maximum of 999 comment lines.

- Only one alarm file can exist per one project file.

- - The recorded alarm number, system buffer, specified bit of specified buffer, alarm criteria, Attributes, color, number of characters, contents appear on the Alarm editor.

- An alarm number can range from 1 to 999, and the system buffer ranges from 0 to 1023.

- - Set the Bit value from 0 to 15.

- Criteria is either 0->1 or 1->0 and the style is normal, blink, or toggle.

- The alarm that appears when the main machine is operating is saved in the internal memory.  Using the special function of the Function Key Tag or Touch Key Tag can also show the alarm history.  To print the alarm history, upload the alarm history file to your PC (using project manager) and print from your PC in PMU-200 and PMU-300.

4-1 Creat a Alarm File

1) Open Alarm Editor

2) Edit the Alarm messege

This menu allows you to add/edit/delete cancel selected items in the Alarm Screen.

By double clicking the empty contents line and doing the same as above, additional alarm contents can be recorded.

Enter number and contents in the popped up dialogue box to record alarm contents

- Edit the alarm messeges as below Fig.

- Save and Give the File name ( any name available ex. 1.alm, test.alm..)

4-2 Make new screen and project

1) Make a Alarm Summary Window.

- Set touch tag function at the button as below shown Fig.s.

- Save and  Give the file name as “1.scr”

2) Make link file

- Save and Give the file name as “200s_ld.lnk”

3) Make a Project File

- Save and Give the file name as “test.prj”

- Download the Project file to PMU.

Running with PLC

2 -----------7

3 -----------4

5------------5

PMU300

GM6

INBUILTED

CNET

- If PLC’s memory ‘M01000’ turns ON, Alam messege is shown below Fig.

- If PLC’s memory ‘M01000’ turns ON, Second Alam messege”OVERHEAT” is appeared like a above the Fig.

# Touch the button on the Screen, Alarm summary displayed

## NOTE

Adjust the Scrolling Speed of alarm display in PMU300 hardware

Use the function keys or ten keys in the main unit.(* 100 msec)

Flickering Speed of Screen

Speed of alarm display

Back light OFF  time

Current Date/Time

24 hours    12 hours

000 * Minute

Display Method

Initial Mode Setup / Date/Time Setup

Save

0000 – 00 – 00   00 – 00

000 * 100msec

000 * 100msec

4) Display position of alarm message in PMU300 hardware

This menu designates the display position of alarm message. Whenever user presses the keys, the display

position will be changed into upper or below position.

Initial Mode Setup / System Setup

Buzzer

Alarm Enlargement/Position

Latch Area Select

Password

Save

YesNone

UpperBelow

0000  -----   0000

0001