4.  Display Alarm messege

- Create an alarm to use when the main machine is operating.  An alarm file can have a maximum of 999 comment lines.

- Only one alarm file can exist per one project file.

- The recorded alarm number, system buffer, specified bit of specified buffer, alarm criteria, Attributes, color, number of characters, contents appear on the Alarm editor.

- An alarm number can range from 1 to 999, and the system buffer ranges from 0 to 1023.

- Set the Bit value from 0 to 15.

- Criteria is either 0->1 or 1->0 and the style is normal, blink, or toggle.

- The alarm that appears when the main machine is operating is saved in the internal memory.  Using the special function of the Function Key Tag or Touch Key Tag can also show the alarm history.  To print the alarm history, upload the alarm history file to your PC (using project manager) and print from your PC in PMU-200 and PMU-300.

4-1 Creat a Alarm File

1) Open Alarm Editor

2) Edit the Alarm messege

This menu allows you to add/edit/delete cancel selected items in the Alarm Screen.

By double clicking the empty contents line and doing the same as above, additional alarm contents can be recorded.

Enter number and contents in the popped up dialogue box to record alarm contents

- Edit the alarm messeges as below Fig.

- Save and Give the File name ( any name available ex. 1.alm, test.alm..)

4-2 Make new screen and project

1) Make a Alarm Summary Window.

- Set touch tag function at the button as below shown Fig.s.

- Save and  Give the file name as “1.scr”

2) Make link file

- Save and Give the file name as “200s_ld.lnk”

3) Make a Project File

- Save and Give the file name as “test.prj”

- Download the Project file to PMU.

- Running with PLC

- If PLC’s memory ‘M01000’ turns ON, Alam messege is shown below Fig.

- If PLC’s memory ‘M01000’ turns ON, Second Alam messege”OVERHEAT” is appeared like a above the Fig.

# Touch the button on the Screen, Alarm summary displayed

## NOTE

Adjust the Scrolling Speed of alarm display in PMU300 hardware

Use the function keys or ten keys in the main unit.(* 100 msec)

4) Display position of alarm message in PMU300 hardware

This menu designates the display position of alarm message. Whenever user presses the keys, the display

position will be changed into upper or below position.

# Text boxes

000 * 100msec

000 * 100msec

0000 – 00 – 00   00 – 00

### Save

### Initial Mode Setup / Date/Time Setup

Display Method

2 -----------7

3 -----------4

5------------5

GM6

INBUILTED

CNET

PMU300

000 * Minute

24 hours	  	  12 hours

Current Date/Time

Back light OFF  time

Speed of alarm display

Flickering Speed of Screen

0001

0000  -----   0000

Upper		Below

Yes		None

### Save

Password

Latch Area Select

Alarm Enlargement/Position

Buzzer

### Initial Mode Setup / System Setup