Appendix. Getting Started

A. Modicon PLC Series

- Edit a main screen

1-1. Create a main screen

When you install PMU-MASTER software, 6 kinds of file managers will be created in Program group of Start menu.

- Select Project Manager in the PMU-MASTER Program group.

- Select PMU type and click OK button.

(You can select PMU type later by selecting File - Change PMU Type menu in the Project Manager)

①

②

- Select Editor-Screen Editor in the full down menu to create a drawing file.

1-1-1. Create a Function Key Tag

- Select Text menu in Draw menu or Text tool (    ) to insert text.

Insert text after clicking a mouse.

①

②

- Select Tag Insert-Function Key in the full down menu.

- Place the direction icon of the function key tag on the main screen and click a mouse.(Position does not matter)

Then, Function Key Tag dialog box appears.

- After entering a name of the Function Key Tag, select function key.

- Click Bit button(You can select Bit, Word or Special button)

※ Tag Name : The initial letter begins as ‘F’ and you can enter the name up to 5 characters(English, Numeric

number) including initial letter.

- Enter buffer number and bit position of selected buffer. Then select operation method.

※ User defined buffer number begins from 40(to 1024). (Please refer to User’s Manual – [Appendix A-3])

This buffer number should be matched with PLC memory address. To communicate with PLC, you need to

setup the Link Editor in the Project manager.

- Click OK button.

1-1-2. Create a Numeric Tag

This tag indicates the value of the system’s buffer data at the actual time on the screen of the main machine.

- Select Tag Insert-Numeric in the full down menu.

- Move a cursor to the place to be created and click a left mouse button.

- Enter the Tag Name and define a buffer address(from 40 to 1024: Be sure not to overwrite the buffer address with other tags)

- When it is in Decimal, it indicates a maximum of 10 digits and when it is in BCD or HEX, it indicates a maximum of 8 digits.  The two methods of indicating the data are by absolute value and in relative value.

- When the indication method is of relative value, and the specified buffer data goes beyond the top inch and bottom inch, it will flicker.

- You can determine the indicated data’s decimal point position.

- Select Data Form as Absolute type, Data Type as Signed DEC16bit, Indication digit as ‘5’ and Decimal point as ‘0’.

- After setting up the configuration, click OK button.

If you enter the data ‘-12345’ in buffer 41, the numeric tag will be displayed in the simulation or run mode as below.

If the data type is Signed Decimal 16bit or Signed Decimal 32bit, the total indication place is actually one place more than the Digit number.

-12345678

- Example)  Data type: Signed DEC 16bit,  Digit Number: 8

- By double clicking the tag to edit on the editor screen, you can edit the already created tag.

[Note]

To move a tag, select this icon.

To copy a tag, select this icon.

To cut(delete) a tag, select this icon.

1-1-3. Create a Lamp Tag

According to the condition of the specified bit in the specified buffer, the specified color changes by the lamp.

- Select Circle icon on the toolbox to draw a circle.

- Draw a circle by dragging a mouse with pressing a left button.

- After selecting the territory to be drawn, drop the mouse button.

- Select Tag Insert-Lamp in the full down menu.

- Move a mouse on the circle(center of circle) and click the left button.

- Select Lamp Type(Select ‘Painted Circle’), Condition.

- Click OK button.

- Draw the lamp area the same size as circle.

1-2. Simulation

You can simulate the edited screen in the computer before you download this file to PMU main machine.

You should save the created screen as a file before the simulation.

The name of the main screen should be saved as number from 1 to 999.

To confirm the contents of file, It’s better to describe the contents in the description box.

* For the main screen, the file type should be saved as *.scr.

from 1 to 999

- Select Others-Simulation in the full down menu.

- If you want to insert an alarm file or message file, select the files in the list box.

- Click OK button.

- You can simulate the main screen by using the simulation tool kit (Enter Tool) or Function Keys.

- Enter the buffer number to be simulated and the value in the Enter Tool dialog box.

- Press Enter Key to enter the data.

If you press the function key ‘F1’ with the mouse, the key will be activated. The value of the buffer will be changed into ‘1’.

The Status

 ‘ON’,

Momentary

Operation

The status of the designated bit

(If you setup the bit number as

‘3’ the data of the buffer(40) will be

0000-0000-0000-1000)

If you select the type of the touch tag as

# Word, these 16 bits will be displayed as

Data value.

- You can find that the lamp is ‘ON’ when you press function key ‘F1’ button.

[Note]

Please notice the types of the tags. In the above simulation, the data of the Lamp Tag or the Numeric Tag except Touch Tag should be sent from PLC(that is, Reading data from PLC). While, the data of the Touch Tag should be sent from PMU(that is, Writing data to PLC). This notice is very important to setup the link editor for the communication between PLC and PMU.

- You can view the list of the buffers created in the main screen.

- To finish the simulation, select the Simulation Exit in the full down menu.

Modicon PLC series – Modbus Protocol (RTU or ASCII Mode)

## 1. Modicon Modbus –Serial Interface

- Communication with Modicon (Modbus) PLC and PMU hardware using RS-232C interface.

### 1-1 System Configuration

| PLC | Interface module | Cable | Option Card | PMU |
| --- | --- | --- | --- | --- |
| 884 984A 984B 984X Slot Mount- 984 | None | Below drawing (RS-232C) | PMO-600S PMO-300S PMO-200S | PMU-600 PMU-300 PMU-200 |

- Modbus : You can use Link interface port in Modicon PLC- CPU module

### 1-2 Cable connection

(1)RS-232C connection(Modicon PLC ↔PMU series)

PLC Part (9Pin)                                     PMU Part (9Pin)

1            CD

2            RD

3            SD

4           DTR

5            SG

6           DSR

7           RTS

8           CTS

9

1           CD

2            RD

3            SD

4           DTR

5            SG

6           DSR

7           RTS

8           CTS

9

### 1-3 Modicon PLC setup

1-3-1 RTU Mode

PLC Interface mode :  select RTU Mode

| PLC part setup |  |
| --- | --- |
| Baud rate | 9600 bps |
| Data length | 8 bit |
| Stop bit | 1 bit |
| Parity bit | Even |
| Station No. | By rotary switch |

- Station address of PLC is set by the rotary switch behind CPU module.

- This station number should be same as the one of PMU station.

ASCII

RTU

mem

1-3-2 ASCII Mode

PLC Interface mode : select ASCII Mode

| PLC part setup |  |
| --- | --- |
| Baud rate | 2400 bps |
| Data length | 7 bit |
| Stop bit | 1 bit |
| Parity bit | Even |
| Station No. | By rotary switch |

1-3-3 Memory(mem) Mode

You can setup the parameter in the programming software of Modicon PLC.

| PLC part setup |  |
| --- | --- |
| Baud rate | 50~19200 bps |
| Data length | 7/8 bit |
| Stop bit | 1/2 bit |
| Parity bit | Even/Odd |
| Station No. | By rotary switch |

1-4 PMU Setup

(1)Link setup

① select serial link in link editor and select “Modicon(Modbus)” in Modicon series.

② setup the buffer no. of PMU with device of PLC

(PLC address : please refer to the address table)

③Transfer the link file to PMU with other files.

(2) Serial parameter Setup

It should be identified with PLC data.

2.  PLC address

| Device | Address |
| --- | --- |
| Input bit | 10001 ~ 18192 |
| Output bit | 00001 ~ 08192 |
| Input register (Word) | 30001 ~ 39999 |
| Output register (Word) | 40001 ~ 49999 |

Note

- Input bit and Input register can not be permitted to write data.